## Slide 1
An Efficient Fractional-Order PDE
Based Image Denoising Algorithm
For Ultrasound Medical Image-Based Diagnostics
Zhang et al. · Journal of Computational and Applied Mathematics (2025)
BY BADITHALA NAYAN PREETHAM
YASHAS KUMAR KALYANI
NAIDU VAMSHI KRISHNA
ABHIJEET CHOWDARY

## Slide 2
What is the Problem?
Ultrasound images
are widely used to diagnose eye diseases, heart conditions and more. The Problem: During capture, ultrasound images get corrupted by speckle noise — random grainy patterns that blur details and make diagnosis harder. Why is it hard to fix? Traditional filters remove noise but also erase important edges and details.
🔊 Noisy Ultrasound Image
(hard to read)
⬇ Denoising
✔ Clean Image
(easy to diagnose)

## Slide 3
Existing Approaches & Their Limitations
ROF Model
(1st-order PDE)
⚠ Preserves edges but creates blocky 'staircase' artifacts in smooth areas.
LLT Model
(4th-order PDE)
⚠ Smooth output but generates black/white speckle dots on the image.
Integer-Order
Filters
⚠ Cannot adapt to different texture regions; one-size-fits-all approach fails on complex medical images.
✦ A smarter approach is needed — one that can adapt to each pixel's local features.

## Slide 4
What is Fractional Calculus? (Simply Put)
You know ordinary derivatives: 1st order, 2nd order, 3rd order …
Fractional calculus allows orders like 0.4, 0.8, 1.3 — anything in between!
0
0.4
0.8
1.0
1.5
2.0
← Integer orders only Fractional orders (new!) →
1
Boosts high-frequency components (edges) while preserving low-frequency regions (smooth areas).
2
More flexible than integer-order — can be tuned precisely for each pixel.
3
Better handles images with complex textures and noisy boundaries.

## Slide 5
The Proposed Model — Overview
The new model (FPD) combines the best of ROF + LLT using a fractional edge detector:
Fidelity Term H
Ensures the output stays close to the original noisy image — prevents over-smoothing.
Regularization E₁
(ROF-style)
Preserves sharp edges by penalizing large gradients in the image.
Regularization E₂
(LLT-style)
Penalises second-order changes, eliminating staircase artefacts in smooth regions.
+
+
Minimize E(u) = H + E₁ + E₂ → Optimal denoised image

## Slide 6
Adaptive Fractional Edge Detection
The edge detector g adjusts its fractional order v individually for every pixel:
g = 1 / (1 + γ + k · |∇ᵛu|)
g value
Image Region
Effect
g → small
Edge region
ROF model dominates → sharp edges preserved
g → large
Smooth region
LLT model dominates → no staircase effect
v is adaptive
Each pixel
Order optimised per-pixel by FPA algorithm
This means the model is smarter and it doesn't use a single fixed rule for the whole image.

## Slide 7
Flower Pollination Algorithm (FPA) — Finding the Best Order
FPA is a nature-inspired optimisation algorithm that finds the best fractional order v for each pixel.
1
Initialise
Randomly set fractional orders for all pixels (v ∈ [0, 2])
→
2
Evaluate
Score each solution using PSNR + SSIM − MAE (image quality)
→
3
Global search
Cross-pollination: jump to the best known solution (Lévy flight)
→
4
Local search
Self-pollination: tweak nearby solutions slightly
→
5
Converge
Repeat until the improvement is < 0.0001; output optimal v
It Converges in fewer than 10 iterations and it is fast and efficient!

## Slide 8
How Do We Measure Denoising Quality?
Three standard metrics are used to judge how good the denoised image is:
PSNR
Peak Signal-to-Noise Ratio — Higher is better Measures how different the denoised image is from the original. A higher number means less noise remaining.
SSIM
Structural Similarity Index — Closer to 1 is better Checks if the structure, texture, and brightness look similar to the original. 1 = perfect.
MAE
Mean Absolute Error — Lower is better Average pixel-by-pixel difference from the original. Smaller means more accurate denoising.
The FPA optimises v by maximising: PSNR + SSIM − MAE

## Slide 9
How the Full Algorithm Works — Step by Step
0
Offline (done once): Run FPA on the input image to find the best fractional order matrix v (one value per pixel).
1
Setup: Set parameters: Lagrange weight λ, contrast coefficient k, small constant γ, and time step Δt.
2
Iterate: Update every pixel using the finite difference form of the PDE (equation 2.16 in the paper).
3
Repeat: Keep updating until the maximum number of iterations K is reached.
4
Output: The final image u is the denoised result.
.

## Slide 10
Results — Synthetic Images (Lena, Peppers, Baboon…)
Tested on 6 standard grayscale images with Gaussian noise (σ = 10 and σ = 15):
Method
PSNR (σ=10)
SSIM (σ=10)
MAE (σ=10)
ROF [5]
~28.0
~0.69
~7.8
LLT [6]
~30.5
~0.85
~5.5
Li et al. [10]
~28.4
~0.74
~7.7
Zhang et al. [19]
~30.3
~0.85
~6.2
Wang et al. [31]
~30.5
~0.92
~5.9
Our Model ✔
~31.7
~0.94
~5.0
Our model consistently achieves the highest PSNR and SSIM, and lowest MAE across all test images.

## Slide 11
Results — Real Ophthalmic Ultrasound Images
6 real eye disease images tested with increasing speckle noise (variance 0.02, 0.04, 0.06):
Retinal detachment
Choroidal detachment
Vitreous hemorrhage
Vitreous mechanization
Vitreous turbidity
Vitreous stellate deformation
Key Findings:
✔ Our model's PSNR stays highest even as noise increases.
✔ Other models degrade quickly at high noise; ours degrades slowly.
✔ Visually: internal eye structures better preserved, clearer edges.

## Slide 12
Summary & Conclusions
Problem
Ultrasound images are degraded by speckle noise; existing PDE methods have trade-offs.
Solution
A new Fractional PDE (FPD) model that adaptively combines ROF + LLT using a per-pixel fractional order.
Innovation
Fractional order v is optimised offline per pixel using the Flower Pollination Algorithm (FPA).
Result
Outperforms 5 competing methods on both synthetic images and real eye ultrasound scans.
Future
Plans to extend to other medical imaging tasks beyond ophthalmic ultrasound.